
	
	Name of Practice:
Enter address and

contact information here.

Name of Project:

Enter name here.

Location:

Enter address here.



	Item
	Ontario Building Code 
	Building Code Reference

	
	Data Matrix Parts 3 or 9
	References are to Division B unless noted 

[A] for Division A or  [C] for Division C.

	1
	Project Description:
	(  Change of Use
	(    New

(    Addition

(    Alteration
	(  Part 11
	( Part 3
	( Part 9

	
	
	
	· 
	11.1 to 11.4
	1.1.2. [A]
	1.1.2. [A] & 9.10.1.3.

	2
	Major Occupancy(s)
	3.1.2.1.(1)
	9.10.2.

	3
	Building Area (m²)
	Existing ________
	New ________ 
	Total ________
	1.4.1.2. [A]
	1.4.1.2. [A]

	4
	Gross Area
	Existing ________ 
	New ________ 
	Total ________
	1.4.1.2. [A]
	1.4.1.2. [A]

	5
	Number of Storeys
	Above grade ____ 
	Below grade __________
	1.4.1.2. [A]&3.2.1.1.
	1.4.1.2[A] & 9.10.4

	6
	Number of Streets/Fire Fighter Access ___________________________________​​___
	3.2.2.10. & 3.2.5.
	9.10.20.

	7
	Building Classification __________________________________________________
	3.2.2.20.-.83
	9.10.2.

	8
	Sprinkler System Proposed
	( entire building

( selected compartments

( selected floor areas

( basement ( in lieu of roof rating

( not required
	3.2.2.20.-.83 

3.2.1.5.
3.2.2.17.
INDEX
	9.10.8.2.
INDEX

	9
	Standpipe required
	( Yes    ( No
	3.2.9.
	N/A

	10
	Fire Alarm required
	( Yes    ( No
	3.2.4.
	9.10.18.

	11
	Water Service/Supply is Adequate
	( Yes    ( No
	3.2.5.7.
	N/A

	12
	High Building
	
	( Yes    ( No
	3.2.6.
	N/A

	13
	Construction Restrictions
Actual Construction
	( Combustible permitted
( Combustible
	( Non-combustible required
( Non-combustible
	(
Both
(
Both
	3.2.2.20.-.83
	9.10.6.

	14
	Mezzanine(s) Area m² ________________________
	3.2.1.1.(3)-(8)
	9.10.4.1.

	15
	Occupant load based on
	( m²/person
	( design of building
	 3.1.17.
	9.9.1.3.

	
	Basement:

1st Floor

2nd Floor

3rd Floor
	Occupancy __________

Occupancy __________

Occupancy __________

Occupancy __________
	Load ________ persons

Load ________ persons

Load ________ persons

Load ________ persons
	
	

	
	( Additional floor areas continued on last page) 
	
	

	16
	Barrier-free Design
	( Yes    ( No  (Explain) ________________________
	3.8.
	9.5.2.

	17
	Hazardous Substances
	( Yes    ( No
	3.3.1.2. & 3.3.1.19.
	9.10.1.3.(4)


	18
	Required

Fire

Resistance

Rating

(FRR)
	Horizontal Assemblies

FRR (Hours)
	Listed Design No.

or Description (SG-2)
	3.2.2.20.-.83 & 3.2.1.4.
	9.10.8.
9.10.9.

	
	
	Floors __________ Hours
	
	
	

	
	
	Roof ___________ Hours
	
	
	

	
	
	Mezzanine ______ Hours
	
	
	

	
	
	FRR of Supporting

Members
	Listed Design No. Or Description (SG-2)
	
	

	
	
	Floors __________ Hours
	
	
	

	
	
	Roof ___________ Hours
	
	
	

	
	
	Mezzanine ______ Hours
	
	
	

	19
	Spatial Separation – Construction of Exterior Walls
	3.2.3.
	9.10.14.

	
	Wall
	Area of EBF (m²)
	L.D. (m)
	L/H or H/L
	Permitted Max. % of Openings
	Proposed % of Openings
	FRR (Hours)
	Listed Design or Description
	Comb Const
	Comb. Constr. Nonc. Cladding
	Non-comb. Constr.

	
	North
	
	
	
	
	
	
	
	
	
	

	
	South
	
	
	
	
	
	
	
	
	
	

	
	East
	
	
	
	
	
	
	
	
	
	

	
	West
	
	
	
	
	
	
	
	
	
	

	20
	Plumbing Fixture Requirements

	
	
	
	
	
	
	
	Building Code Reference

	
	
	
	
	
	
	
	( Part 3
	( Part 9

	
	Male/Female Count @ _____% / _____%, except as noted otherwise

Basement:
Occupancy



Occupancy


1st Floor:
Occupancy



Occupancy


2nd Floor:
Occupancy



Occupancy


3rd Floor:
Occupancy



Occupancy


(Adjust as Required for Additional Floors or Occupancies)
	Occupant

Load
	BC Table

Number
	Fixtures

Required
	Fixtures

Provided
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	21
	Other (describe)



	
	

	
	15 (Occupant Load - Continued)
	
	

	
	_______Floor
Occupancy ____________            Load______ persons
_______Floor
Occupancy ____________            Load______ persons

_______Floor
Occupancy ____________            Load______ persons

_______Floor
Occupancy ____________            Load______ persons

_______Floor
Occupancy ____________            Load______ persons

_______Floor
Occupancy ____________            Load______ persons

_______Floor
Occupancy ____________            Load______ persons

_______Floor
Occupancy ____________            Load______ persons

_______Floor
Occupancy ____________            Load______ persons

_______Floor
Occupancy ____________            Load______ persons
	
	

	
	19 (Spatial Separation – Construction of Exterior Walls - Continued )
	3.2.3.
	9.10.14.

	
	Wall
	Area of EBF(m2)
	L.D.

(m)
	L/H

Or

H/L
	Permitted

Max. % of Openings
	Proposed % of

Openings
	FRR

(Hours)
	Listed Design or Description
	Comb

Const
	Comb. Constr.

Nonc.

Cladding
	Non-comb.

Constr.

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	
	


Building Code Data Matrix, Parts 3 or 9
 December, 2013
© Ontario Association of Architects

